## Sheet2
Column1 |  | Column2 |  | Column3 |  | Column4 |  | Column5
Mean | 17.9857 | Mean | 357.1429 | Mean | 456.5797 | Mean | 7.5916 | Mean | 1.619
Standard Error | 2.0718 | Standard Error | 41.3011 | Standard Error | 76.3082 | Standard Error | 2.0463 | Standard Error | 0.20709
Median | 20.1 | Median | 400 | Median | 454.97 | Median | 4.478 | Median | 1.3
Mode | 10.1 | Mode | 200 | Mode | #N/A | Mode | #N/A | Mode | 1.3
Standard Deviation | 9.4941 | Standard Deviation | 189.2655 | Standard Deviation | 349.688 | Standard Deviation | 9.3774 | Standard Deviation | 0.94901
Sample Variance | 90.1373 | Sample Variance | 35821.4286 | Sample Variance | 122281.7219 | Sample Variance | 87.9352 | Sample Variance | 0.90062
Kurtosis | -1.4124 | Kurtosis | -1.421 | Kurtosis | -1.2917 | Kurtosis | 4.9686 | Kurtosis | 0.63886
Skewness | 0.059278 | Skewness | 0.067372 | Skewness | 0.36138 | Skewness | 2.1618 | Skewness | 1.0215
Range | 27.7 | Range | 550 | Range | 1003.922 | Range | 37.9694 | Range | 3.5
Minimum | 2.5 | Minimum | 50 | Minimum | 0.028 | Minimum | 0.0006 | Minimum | 0.3
Maximum | 30.2 | Maximum | 600 | Maximum | 1003.95 | Maximum | 37.97 | Maximum | 3.8
Sum | 377.7 | Sum | 7500 | Sum | 9588.173 | Sum | 159.423 | Sum | 34
Count | 21 | Count | 21 | Count | 21 | Count | 21 | Count | 21

## Sheet1
Calibration Curve
Mass | Mg/L | A | SD | rsd
2.5 | 50 | 0.028 | 0.0006 | 2
5 | 100 | 0.061 | 0.0014 | 2.4
7.5 | 150 | 0.074 | 0.001 | 1.3
10.1 | 200 | 196.04 | 2.292 | 1.2
10.1 | 200 | 208.21 | 7.793 | 3.7
10.1 | 200 | 186.72 | 4.55 | 2.4
10.2 | 200 | 183.75 | 3.308 | 1.8
10.2 | 200 | 185.83 | 2.488 | 1.3
10.2 | 200 | 186.74 | 1.242 | 0.7
20.1 | 400 | 475.62 | 1.467 | 0.3
20.1 | 400 | 493.45 | 2.556 | 0.5
20.1 | 400 | 474.34 | 4.342 | 0.9
20.2 | 400 | 466.24 | 6.231 | 1.3
20.2 | 400 | 454.97 | 6.471 | 1.4
20.2 | 400 | 449.58 | 4.478 | 1
30.1 | 600 | 903.65 | 24.76 | 2.7
30.1 | 600 | 939.48 | 12.15 | 1.3
30.1 | 600 | 921.67 | 18.77 | 2
30.2 | 600 | 936.82 | 11.34 | 1.2
30.2 | 600 | 1003.95 | 37.97 | 3.8
30.2 | 600 | 920.95 | 7.212 | 0.8
icvs |  | 44.41
ww |  | 65.97
5ml
a |  | 34405.3
dil 40 |  | 870.39
b |  | 10760.68
dil 40 |  | 274.56

## Sheet6
mg/L Current Standards | mg/L Extended Standards | Common Process Values
50 | 50 | 200
100 | 100 | 400
150 | 150 | 600
| 200 | 1000
| 400 | 2000
| 600 | 3000

## Sheet3
Calibration Curve
Mass | Mg/L | A | SD | rsd
2.5 | 50 | 0.028 | 0.0006 | 2
5 | 100 | 0.061 | 0.0014 | 2.4
7.5 | 150 | 0.074 | 0.001 | 1.3
10.1 | 200 | 0.118 | 0.0035 | 3
10.1 | 200 | 0.117 | 0.0012 | 1
10.2 | 200 | 0.113 | 0.0009 | 0.8
10.2 | 200 | 0.11 | 0.0008 | 0.7
20.1 | 400 | 0.2 | 0.0018 | 0.9
20.1 | 400 | 0.192 | 0.014 | 0.8
30.1 | 600 | 0.279 | 0.0033 | 1.2
30.1 | 600 | 0.278 | 0.007 | 0.2
icvs |  | 44.41
Back Calulations
|  |  |  | Acuatl initial Concentration | Spectrometer value | Calculated Concentration | Initial Stock Solution Concentration | Aluminium standard calculated value
|  |  |  | 0.125 | 1.27 | 0.508 | 20.32 | 4064
ww |  | 65.97 |  | 0.25 | 1.46 | 0.292 | 5.84 | 1168
5ml |  |  |  | 0.375 | 1.63 | 0.21733 | 2.8978 | 579.5556
[7 empty] | sd | 1865.2272
|  | photometer | spectometer |  |  |  | av | 1937.1852
a |  | 0.336 |  |  |  |  | %rsd | 103.8579
calc value |  | 758.75 | 870.39 | 78.9414
b |  | 0.162 |  | 814.57
calc value |  | 323.75 | 274.556 | 34.7854
299.153

## Sheet4
1000
Stock | 5 |  | R1 | R2 | AV | Mass | SPEC
WS1 | 0.125 | 0.27 | 0.23 | 0.21 | 0.22 | 0.00013713 | 1.27
WS2 | 0.25 | 0.39 | 0.36 | 0.35 | 0.355 | 0.0002277 | 1.43
WS3 | 0.375 | 0.47 | 0.51 | 0.46 | 0.485 | 0.00028808 | 1.63
Back Calculations
Acuatl initial Concentration | Palintest Value | Calculated Concentration | Initial Stock Solution Concentration | Aluminium standard calculated value | Real Value
0.125 | 0.22 | 0.12425 | 4.9698 | 993.9623 | 1000
0.25 | 0.355 | 0.2516 | 5.0321 | 1006.4151 | 1000
0.375 | 0.485 | 0.37425 | 4.9899 | 997.9874 | 1000
|  |  | sd | 6.3548 | %rsd
| Forward Calculation |  | mean | 999.4549 | 0.63583
| Stock conc | ws1 conc
| 5 | 0.125
| 5 | 0.25
| 5 | 0.375

## Sheet5
Al (ppm) | real
14500 | 362.5
24200 | 605
28300 | 707.5
29000 | 725
29900 | 747.5
36000 | 900
25500 | 637.5
27000 | 675
31000 | 775
22000 | 550
33000 | 825
28750 | 718.75
31600 | 790
26000 | 650
27400 | 685
31500 | 787.5
35000 | 875
30400 | 760
19000 | 475
24300 | 607.5
34600 | 865
23100 | 577.5
29700 | 742.5
22700 | 567.5
23500 | 587.5
29400 | 735
26000 | 650
31800 | 795
25600 | 640
29500 | 737.5
39000 | 975
27500 | 687.5
36800 | 920
33000 | 825
19500 | 487.5
18000 | 450
25800 | 645
18700 | 467.5
18500 | 462.5
15400 | 385
18400 | 460
20500 | 512.5
26000 | 650
28000 | 700
26500 | 662.5
35700 | 892.5
22750 | 568.75
29400 | 735
28100 | 702.5
26800 | 670
22500 | 562.5
28500 | 712.5
26800 | 670
26200 | 655
26500 | 662.5
28000 | 700
19000 | 475
23500 | 587.5
34000 | 850
28500 | 712.5
25000 | 625
29000 | 725
23000 | 575
33500 | 837.5
31000 | 775
30000 | 750
31000 | 775
27000 | 675
26000 | 650
34000 | 850
15000 | 375
22500 | 562.5
28000 | 700
30000 | 750
30000 | 750
38500 | 962.5
33000 | 825
24000 | 600
24000 | 600
23500 | 587.5
25000 | 625
26000 | 650
24000 | 600
5800 | 145
12600 | 315
16000 | 400
17400 | 435
20600 | 515
14700 | 367.5
2700 | 67.5
31000 | 775
30872 | 771.8
25900 | 647.5
29000 | 725
45200 | 1130
45504 | 1137.6
51923 | 1298.075
61043 | 1526.075
62375 | 1559.375
59424 | 1485.6
55236 | 1380.9
24098 | 602.45
43619 | 1090.475
72936 | 1823.4
54217 | 1355.425
39726 | 993.15
58382 | 1459.55
60000 | 1500
53773 | 1344.325
53514 | 1337.85
43877 | 1096.925
49124 | 1228.1
26979 | 674.475
55256 | 1381.4
63247 | 1581.175
32327 | 808.175
61409 | 1535.225
68464 | 1711.6
71272 | 1781.8
56966 | 1424.15
58066 | 1451.65
58024 | 1450.6
12439 | 310.975
45489 | 1137.225
46909 | 1172.725
44181 | 1104.525
54596 | 1364.9
63460 | 1586.5
67037 | 1675.925
53195 | 1329.875
50273 | 1256.825
25761 | 644.025
38656 | 966.4
49861 | 1246.525
68897 | 1722.425
17015 | 425.375
39459 | 986.475
61723 | 1543.075
44813 | 1120.325
21761 | 544.025
37770 | 944.25
62837 | 1570.925
59024 | 1475.6
46296 | 1157.4
58649 | 1466.225
66960 | 1674
67013 | 1675.325
23503 | 587.575
48123 | 1203.075
14051 | 351.275
34080 | 852
58381 | 1459.525
62705 | 1567.625
63816 | 1595.4
58711 | 1467.775
55511 | 1387.775
52564 | 1314.1
18671 | 466.775
30903 | 772.575
71879 | 1796.975
70859 | 1771.475
68967 | 1724.175
50697 | 1267.425
19529 | 488.225
41957 | 1048.925
72970 | 1824.25
12366 | 309.15
41489 | 1037.225
53359 | 1333.975
68041 | 1701.025
68113 | 1702.825
21530 | 538.25
67252 | 1681.3
83165 | 2079.125
40115 | 1002.875
70434 | 1760.85
70210 | 1755.25
74149 | 1853.725
20105 | 502.625
35430 | 885.75
49059 | 1226.475
48779 | 1219.475
38689 | 967.225
40083 | 1002.075
51410 | 1285.25
46273 | 1156.825
48304 | 1207.6
46191 | 1154.775
20130 | 503.25
39788 | 994.7
50016.24 | 1250.406
54286 | 1357.15
51856 | 1296.4
52123 | 1303.075
13103 | 327.575
27613 | 690.325
45636 | 1140.9
48908 | 1222.7
57974 | 1449.35
56892 | 1422.3
49423 | 1235.575
20096 | 502.4
43713 | 1092.825
56624 | 1415.6
58548 | 1463.7
64575 | 1614.375
37351 | 933.775
53098 | 1327.45
59009 | 1475.225
56731 | 1418.275
53796 | 1344.9
31379 | 784.475
41145 | 1028.625
57243 | 1431.075
57551 | 1438.775
57729 | 1443.225
17876 | 446.9
41426 | 1035.65
68605 | 1715.125
89714 | 2242.85
65840 | 1646
15952 | 398.8
18061 | 451.525
76955 | 1923.875
66994 | 1674.85
12182 | 304.55
54227 | 1355.675
86801 | 2170.025
64347 | 1608.675
14682.89 | 367.0722
31768 | 794.2
47078 | 1176.95
67766 | 1694.15
58736 | 1468.4
81007 | 2025.175
17112 | 427.8
33807 | 845.175
51153 | 1278.825
63648 | 1591.2
65202 | 1630.05
28116 | 702.9
31699 | 792.475
32580 | 814.5
63607 | 1590.175
78949 | 1973.725
74628 | 1865.7
267323 | 6683.075
72102 | 1802.55
23880 | 597
47492 | 1187.3
57270.64 | 1431.766
66797 | 1669.925
49360 | 1234
14263 | 356.575
44188 | 1104.7
53771 | 1344.275
62520.81 | 1563.0203
62368.22 | 1559.2055
70024.22 | 1750.6055
16298 | 407.45
18952 | 473.8
18952 | 473.8
42913 | 1072.825
46863 | 1171.575
51837 | 1295.925
64695 | 1617.375
22355 | 558.875
25999 | 649.975
61433 | 1535.825
66209 | 1655.225
66551 | 1663.775
63829 | 1595.725
27680 | 692
25254 | 631.35
62392 | 1559.8
56200 | 1405
18438 | 460.95
31307 | 782.675
53349 | 1333.725
59488 | 1487.2
59313 | 1482.825
4174 | 104.35
27997 | 699.925
29256 | 731.4
46808 | 1170.2
51611 | 1290.275
54472 | 1361.8
53870 | 1346.75
47840 | 1196
14200 | 355
16004 | 400.1
27742 | 693.55
47969 | 1199.225
54263 | 1356.575
46905 | 1172.625
46670 | 1166.75
20221 | 505.525
31343 | 783.575
40574 | 1014.35
48253 | 1206.325
47022 | 1175.55
51867 | 1296.675
57504 | 1437.6
58971 | 1474.275
57319 | 1432.975
55035 | 1375.875
22375 | 559.375
33681 | 842.025
36595 | 914.875
55143 | 1378.575
72543 | 1813.575
84325 | 2108.125
38382 | 959.55
54981 | 1374.525
69010 | 1725.25
75345 | 1883.625
36622 | 915.55
45444 | 1136.1
69532 | 1738.3
62071 | 1551.775
69594 | 1739.85
79059 | 1976.475
23096 | 577.4
39256 | 981.4
75170 | 1879.25
65416 | 1635.4
73331 | 1833.275
69318 | 1732.95
67537 | 1688.425
75909 | 1897.725
24531 | 613.275
42969 | 1074.225
53825 | 1345.625
62191 | 1554.775
68301 | 1707.525
26501 | 662.525
43140 | 1078.5
56738 | 1418.45
62412 | 1560.3
61278 | 1531.95
65664 | 1641.6
63772 | 1594.3
61459 | 1536.475
51974 | 1299.35
28678 | 716.95
42729 | 1068.225
70919 | 1772.975
54876 | 1371.9
58913 | 1472.825
61038 | 1525.95
33654 | 841.35
42226 | 1055.65
52331 | 1308.275
63002 | 1575.05
59858 | 1496.45
18863 | 471.575
28618 | 715.45
45926 | 1148.15
61869 | 1546.725
18218 | 455.45
43485 | 1087.125
21037 | 525.925
41830 | 1045.75
57902 | 1447.55
66196 | 1654.9
53094 | 1327.35
22826 | 570.65
27615 | 690.375
48567 | 1214.175
46487 | 1162.175
26343 | 658.575
47258 | 1181.45
46758 | 1168.95
54788 | 1369.7
51258 | 1281.45
27410 | 685.25
31800 | 795
83680 | 2092
16174 | 404.35
23606 | 590.15
16174 | 404.35
23606 | 590.15
50935 | 1273.375
38021 | 950.525
55973 | 1399.325
37967 | 949.175
21767 | 544.175
53739 | 1343.475
57108 | 1427.7
55690 | 1392.25
51432 | 1285.8
21142 | 528.55
33441 | 836.025
59400 | 1485
56833 | 1420.825
20484 | 512.1
36219 | 905.475
47743 | 1193.575
54254 | 1356.35
43820 | 1095.5
39500 | 987.5
22337 | 558.425
11912.68 | 297.817
14463.44 | 361.586
20335.57 | 508.3893
33085.85 | 827.1463
70560.37 | 1764.0092
39259.01 | 981.4753
46664 | 1166.6
1598.22 | 39.9555
35910.99 | 897.7747
57834.05 | 1445.8513
20494.92 | 512.373
24000 | 600
24000 | 600
29000 | 725
30000 | 750
14000 | 350
19000 | 475
20000 | 500
22000 | 550